## TA titrations
Analysis of TA of class seawater samples
USGS titrator using one point method and spectrophometric method to measure pH
Acid | used acid supplied by A. Dickson stated normality 0.100002 N
Replicates | umol/kg
2081.2
2086.9
2086.1
2083.1
2078.8
Avg | 2083.22
SD | 3.0156
RSMAS titrator using modified Gran method to estimate equivalence point and glass pH electrode to measure pH
Acid | used acid from home that was standardized against CRM 98 at the meeting c=0.009753 N
Replicates | umol/kg
2091.9
2086.4
Avg | 2089.15
SD | 2.75

## pCO2 equilibrators
Comparison of pCO2 equilibrators
Both equilibrators were zeroed and spanned agains the same cyclinders of N2 and air-CO2 (607 ppm) gases.
XCO2, ppm
MAP
502
497
502
Avg | 500.3333
SD | 2.357
RSMAS |  | The RSMAS equilibrator had a slight overpressure suggesting a small leak on the intake
| 517 | side of its air circulation pump.
517.9
Avg | 517.45
SD | 0.45